## Page 1
| SCAT No. | Individual Item Description for System Example | Price ( € / pc. )
( as depicted in accompanying PowerPoint Document )
1 | 306497 | SafetyWasteCap II + 1, V2.0, GL45, for collection of HPLC-Waste, 2x PFA-fittings for capillaries, 1 x tube connector for tubes | 74.2
2 | 306509 | Collector, V2.0, universal 3/4-ways, incl. blind cap for HPLC connection, 1x GL45 (f) to 4x GL45 (m), PE-HD | 231.91
3 | 106450 | Desktop Mount, with lower thread 32 mm (OD) to upper thread GL45 (m), PE-HD, for a tabletop borehole of 35mm (OD) | 86.7691
4 | 106427 | Straight Connector, 2 x 32 mm (ID), PE-HD, length = 120mm | 110.3223
5 | 106435 | Interconnecting Pipe, PE-HD, straight, 32 mm (OD), length = 300 mm | 72.97
6 | 106456 | Curved Connector for pipe system, connection for 32 mm (ID) pipe to GL25 (m), PE-HD | 129.7547
7 | 106569 | SymLine FlexTube, GL25 (w), ID = 14,3 - 14,8 mm, OD = 19,0 - 19,8 mm, spiral form outside and inside, PTFE, length = 600 mm | 86.1631
8 | 106475 | Shut-Off Valve, angled, 1x GL25 (w) to 1x GL25 (m), PE-HD | 215.8673
9 | 306482 | SafetyWasteCap, S60/61, V 2.0, GL25 (m), with connection for exhaust filter, PTFE | 175.0734
10 | 106412 | HPLC-Desktop Mount for 6x UNF 1/4", side connections, incl. fittings for capillary diameters 2,3/3,2 mm (OD), with 1x NPT 1/8" connection on the top, incl. connector for 6.4 - 9 mm (ID) tube, pad diameter 53 mm, connection to 32 mm (OD) pipe, PE-HD | 220.9476
11 | 106430 | Connector Pipe, angled, 32 mm (ID) to 32 mm (OD) , PE-HD, with 3% gradient/slope, length = 150 mm | 97.4347
12 | 106421 | Curved Connector for pipe system, connection for 32 mm (ID) pipe to 32 mm (OD), PE-HD | 104.838
13 | 106426 | T-Piece for pipe, 3 x 32 mm (ID), PE-HD | 194.7583
14 | 106423 | Blind Plug, for pipe with 32 mm (ID), PE-HD | 20.2
15 | 106440 | Connector Pipe, angled, 32 mm (ID) to 32 mm (OD) , PE-HD, with 3% gradient/slope, length = 500 mm | 108.9992
16 | 306980 | Funnel "MARCO" with lid, V 2.0, GL45, click-closure, removable sieve and earthing cable, PE-HD, funnel dia. = 155 mm | 93.98
17 | 106417 | Thread Adapter, GL25 (m) to GL25 (m), PE-HD | 37.15
18 | 106575 | SymLine FlexTube Pro, GL25 (f), ID = 13,4 - 13,9 mm, OD = 16,0 - 16,9 mm, inside smooth, PTFE, length = 600 mm | 124.1189
19 | 108042 | Canister 10 L, S60/61, with float, UN-Y approval, PE-HD, dimensions (W x H x D): 185 x 265 x 290 mm | 110.52
20 | 106480 | SafetyWasteCap, S60/61, with float (90 mm) & electronic level control, GL25(m), connector for exhaust filter, PE-HD, ATEX-compliant | 296.4552
21 | 107953 | Canister 10 L, S60/61, UN-Y approval, PE-HD, dimensions (W x H x D): 185 x 265 x 290 mm | 47.6
ADDITIONAL POSSIBLE ITEMS / OPTIONS
Earthing Cables - highly advisable, for FULL SAFETY !
( each system should have 2 grounding cables, one at each end of the system )
| 108176 | Earthing Cable, 1 x clip for pipe of 32 mm (OD), 1 x clamp, length = 3 m | 35.52
| 108270 | Earthing Cable, 1 x clip for FlexTubes, 1 x clamp, length = 3 m | 35.18
| 108011 | Earthing Cable, 1 x clamp, 1 x ring of 10 mm (ID), length = 1.5 m | 39.13
| 108009 | Earthing cable, 2x clamps, length = 1.5 m | 50.99
| 108012 | Earthing Cable, 2 clamps, length = 2 m | 53
| 108275 | Earthing Cable, 1 x press-stud connector of 10 mm (ID), 1 x ring of 5 mm (ID), length = 1.5 m | 38.56
| 108268 | Earthing Cable, 1 x press-stud connector of 10mm (ID), 1x clamp, length = 2 m | 37.6
Earthing Plugs for Wall or Panel Socket
| 108092 | Earthing plug EU ( 1 megohm ) for wall or panel socket, 2x 10 mm press buttons | 79.06
| 108186 | Earthing plug EU (1 megohm) for wall or panel socket, 3x 10 mm press buttons | 88.38
| 108281 | Earthing plug UK ( 1 megohm ) for wall or panel socket, 3x 10mm press buttons | 78.7
Items required for Automatic Fill-Level Alarm ( acoustic & visual )
| 108304 | Signal Cable for electronic level control, length = 1.5 m | 31.2
| 108050 | Signal Cable for electronic level control, length = 3 m | 35.77
| 108087 | Table-Top Signal Box T1 - EU, 1 sensor input, 1 potential-free output (for external devices), LED Display, 24V DC, EU plug | 343.24
| 106548 | Built-in Signal Box 2 - EU, 2-channels, for electronic level controler of two containers, incl. 230V power supply cable | 524.6
| 108088 | Table-Top Signal Box T5 - EU, 5 sensor inputs, 6 potential-free outputs (for external devices), LED Display, 24V DC, EU plug | 572.76
| 107000 | Switch Box : Control Unit for Signal Boxes, controls electrically operated valve as per the sensor signal for liquid level. Is used for automatic switching between TWO canisters. May also be employed for any automation circuit (e.g. control of pump, valve, etc.) | 583.62
| 160178 | 3-Way Ball-Valve, 3 x GL25 (m), electrically automatically operated, stainless steel | 638.37
| 106580 | Mounting for 3-Way Ball Valve, stainless steel ( 1.4301 ) | 60.89
Items required for full ATEX Compliance ( in safety cabinets )
| 108278 | Isolating Switch Amplifier EU, 2 channels, for 110 - 230 V AC supply | 304.68
| 106590 | Housing for Isolating Switch Amplifier | 154.27
| 108219 | Cable Set : Connection for Isolating Switch Amplifier (108278) / Built-in Signal Box consisting of: 1 x 3,5 m cable connection for sensor with M8 (f) + 3 x cable shoes, 1x 1,5 m cable connection for Signal Box with M8 (m) + 3 x cable shoes | 78.14
| 108314 | Cable Set : Connection for Isolating Switch Amplifier (108278) / Built-in Signal Box consisting of: 1 x 3,5 m cable connection for Signal Box with M8 (m) + 3 x cable shoes, 1 x 1,5 m cable connection for sensor with M8 (f) + 3 x cable shoes | 77.37
| 106678 | Module Signal Set for safety cabinets with EU-plug : 1 x Isolating Switch Amplifier EU with 2 channels (108278), 1 x Housing for isolating switch amplifier (106590), 2 x Cable Sets: connection for switch amplifier - built-in signal box (108314) | 609.14
Exhaust Tubes
| 106471 | Piece of Tube for Exhaust, PFA, length = 100 mm | 10.76
| 106490 | Exhaust Ventilation Kit : Flextube, OD = 13,9 mm, GL14 ( OD ) connection for exhaust filter, PE-HD, NPT 1/4" connection made of stainless steel for attaching to HT-pipe, length = 1500 mm | 58.05
Safety Funnels
| 317633 | Funnel "ARNOLD" with lid, V2.0, GL45, click-closure, splash guard, removable sieve & earthing cable, PE-HD, funnel dia. = 200 mm | 194.98
| 317638 | Funnel "ARNOLD" with ball-valve & lid, V 2.0, GL45, click-closure, splash guard, removable sieve & earthing cable, PE-HD, funnel-dia. = 200 mm | 194.98
Desktop Mounts
| 106455 | Desktop Mount, with lower thread GL25 (m) to upper thread GL45 (m), PE-HD, for a tabletop borehole of 35mm (OD) | 140.66
| 106616 | HPLC-Desktop Mount for 4 x UNF 1/4" 28G and 2 x NPT 1/8", side connections, pad diameter 53 mm, GL25 (m) connection, PE-HD | 201.89
Rear Wall Mount
| 106612 | Rear Wall Mount, with lower thread GL 25 (m) to upper thread GL45 (m), PE-HD, incl. mounting flange, for a rear wall borehole of 34 - 45 mm | 178.42
Interconnecting Pipes - Straight
| 106435 | Interconnecting Pipe, PE-HD, straight, 32 mm (OD), length = 300 mm | 77.34
| 106436 | Interconnecting Pipe, PE-HD, straight, 32 mm (OD), length = 900 mm | 77.34
| 106449 | Interconnecting Pipe, PE-HD, straight, 32 mm (OD), length = 1000 mm | 83.07
| 106437 | Interconnecting Pipe, PE-HD, straight, 32 mm (OD), length = 1200 mm | 94.54
Interconnecting Pipes - Angled
| 106430 | Interconnecting Pipe, PE-HED, angled, 32 mm (ID) to 32 mm (OD), length 150 mm | 97.43
| 106438 | Interconnecting Pipe, PE-HED, angled, 32 mm (ID) to 32 mm (OD), length 200 mm | 102.09
| 106440 | Interconnecting Pipe, PE-HED, angled, 32 mm (ID) to 32 mm (OD), length 500 mm | 109
SymLine Flextubes
| 106569 | Symline FlexTube, GL25 (f), ID = 14,3 - 14,8 mm, OD = 19,0 - 19,8 mm, spiral form outside & inside, PTFE, incl. fittings, length = 600 mm | 86.16
| 106568 | SymLine FlexTube, GL25 (f), ID = 14,3 - 14,8 mm, OD = 19,0 - 19,8 mm, spiral form outside & inside, PTFE, incl.fittings, length = 1000 mm | 95.61
| 106567 | SymLine FlexTube, GL25 (f), ID = 14,3 - 14,8 mm, OD = 19,0 - 19,8 mm, spiral form outside & inside, PTFE, incl. fittings, length = 1500 mm | 107.37
| 106566 | SymLine FlexTube, GL25 (f), ID = 14,3 - 14,8 mm, OD = 19,0 - 19,8 mm, spiral form outside & inside, PTFE, incl. fittings, length = 2500 mm | 131.03
| 106598 | SymLine FlexTube, GL25 (f), ID = 14,3 - 14,8 mm, OD = 19,0 - 19,8 mm, spiral form outside and inside, PTFE - sold by the metre | 95.2
Fittings for SymLine FlexTubes
| 106579 | GL25(f) Fittings for SymLine FlexTubes - set of 2 | 63.33
SymLine Pro Flextubes
| 106575 | SymLine FlexTube Pro, GL25 (f), ID = 13,4 - 13,9 mm, OD = 16,0 - 16,9 mm, inside smooth, PTFE, incl. fittings, length = 600 mm | 124.12
| 106574 | SymLine FlexTube Pro, GL25 (f), ID = 13,4 - 13,9 mm, OD = 16,0 - 16,9 mm, inside smooth, PTFE, incl. fittings, length = 1000 mm | 166.55
| 106573 | SymLine FlexTube Pro, GL25 (f), ID = 13,4 - 13,9 mm, OD = 16,0 - 16,9 mm, inside smooth, PTFE, incl. fittings, length = 1500 mm | 220.63
| 106572 | SymLine FlexTube Pro, GL25 (f), ID = 13,4 - 13,9 mm, OD = 16,0 - 16,9 mm, inside smooth, PTFE, incl. fittings, length = 2500 mm | 327.92
| 106597 | Symline FlexTube Pro, GL25 (f), ID = 14,3 - 14,8 mm, OD = 19,0 - 19,8 mm, spiral form outside and inside, PTFE - sold by the metre | 101.9
Fittings for SymLine Pro FlexTubes
| 106591 | GL25(f) Fittings for SymLine FlexTubes Pro - set of 2 | 65.16
Interconnecting Adapter for SymLine FlexTubes & FlexTubes Pro
| 106417 | Interconnecting Thread Adapter, GL25 (m) to GL25 (m), PE-HD | 37.15
Manifold ( 3-way ) for SymLine FlexTubes & FlexTubes Pro
| 106476 | Manifold ( 3-way, for joining 2 waste outflows ), 3x GL25 (m), PE-HD, with 2 fixation holes | 127.27
Tube Holder for SymLine FlexTubes & FlexTubes Pro
| 106562 | Tube Holder for Symline FlexTube, suitable for all safety cabinets, material PA66 halogen-free | 16.14
| 108290 | Interconnecting Adapter for SymLine FlexTubes ( Pro ) & Ø 32 mm Pipe | 115.25
Thread adapter, PE-HD electrostatic conductive, GL25 (m) to pipe Ø 32 mm
Connector Pipe
| 106438 | Connector Pipe, angled, 32 mm (ID) to 32 mm (OD), PE-HD, with 3% gradient/slope, length = 200 mm | 102.09
Elbow Pieces
| 106457 | Elbow Piece for pipe system, connection for 32 mm (ID) pipe to GL25 (m), PE-HD, with 3% gradient/slope | 141.99
| 106577 | Curved element for pipe system, connection for 32 mm (ID) pipe to 32mm (ID) pipe, PE-HD | 137.1
90° Angled Adapters
| 106620 | Angled adapter GL25 (f) to GL25 (m), PE-HD - for e.g. mounting on Safety Waste Cap with GL25 connection | 70.1
| 106680 | Angled adapter GL25 (f) to GL25 (m), PE-HD - for mounting on Desktop mount with GL25 connection - with longer vertical part | 70.1
Cabinet Feed-Through Pieces - 90° Angled
| 106611 | Cabinet Feed-Through Piece, angled, GL25 (m) to GL25 (m), ID = 10 mm, for cabinet borehole of 28 mm and cabinet wall thickness of max. 120 mm, PE-HD | 178.82
T-Pieces
| 106458 | T-Piece for pipes, 2 x 32 mm (ID), 1 x GL25 (m), PE-HD | 214.34
| 106476 | T-Piece/Manifold for Flextubing, 3 x GL25 (m), PE-HD | 127.27
Shut-Off Valves
| 106475 | Shut-off Valve, angled, 1x GL25 (f) to 1x GL25 (m), PE-HD | 215.87
3-Way Ball Valves
| 160201 | 3-Way Ball Valve, 3 x GL25 (m), PTFE | 426.77
| 160178 | 3-Way Ball Valve, 3 x GL25 (m), electrically automatically operated, stainless steel | 638.37
| 106580 | Mounting for 3-Way Ball Valve, stainless steel ( 1.4301 ) | 60.89
Offset Adapters for Exhaust Filters
( may be required for reasons of space, if shut-off valve is present )
| 107624 | Offset Adapter 90°, short, for exhaust filter | 43.44
| 107622 | Offset Adapter 90°, long, for exhaust filter | 55.52
| 107627 | Offset Adapter 45° for exhaust filter | 48.91
Exhaust Filters - highly advisable, for FULL SAFETY !
| 490336 | Exhaust filter M, V3.0, economy package, with splash guard and change indicator, service life 6 months, quantity = 2 pieces | 159
| 407986 | Exhaust filter L, V3.0, with splash guard and change indicator, service life 12 months | 129
| 490986 | Exhaust filter L, V3.0, economy package, with splash guard and change indicator, service life 12 months, quantity = 2 pieces | 192
SafetyWasteCaps
| 106527 | SafetyWasteCap, GL45, with GL25 (m) connection, immersed filling lance, connector for exhaust filter, PE-HD | 131.99
| 106522 | SafetyWasteCap S55, with GL25 (m) connection, immersed filling lance, connector for exhaust filter, PE-HD | 138.83
| 106478 | SafetyWasteCap, S55, with float & electronic level control, GL25 (m), immersed filling lance, connector for exhaust filter, PE-HD | 291.07
| 306581 | SafetyWasteCap, S60/61, adjustable capacitive level control made of PTFE, open cable connection (length 2 m), GL25 (m), connector for exhaust filter, PE-HD, ATEX-compliant | 448.73
Canisters
| 108027 | Canister 20 L, S60/61, PE-HD, UN-Y approval, dimensions (W x H x D) : 185 x 500 x 290 mm | 61.96
| 108192 | Canister 30 L, S60/61, PE-HD, UN-Y approval, dimensions (W x D x H) : 240 x 364 x 455 mm | 82.72
Collecting Trays
| 117985 | Collecting Tray with Base Insert, PE-HD, dimensions (W x H x D) : 285 x 95 x 385 mm (interior), 355 x 135 x 445 mm (exterior) | 238.1
| 117986 | Collecting Tray with Base Insert, PE-HD, dimensions (W x H x D): 295 x 200 x 415 mm (interior), 365 x 240 x 490 mm (exterior) | 297.97
Anti-Static Floor Mat
| 108099 | Antistatic Floor Mat, made of Ethylene Vinyl Acetate, dimensions (W x H x D) : 610 x 1220 x 3 mm | 155.02
Sink for Tabletop/Workplace
| 118003 | Sink with waste connection 1½", dimensions (W x H x D) : 400 x 400 x 250 mm (interior), wall thickness 3,8 mm, PP, incl. PP strainer | 299.49
Adapter for Sink
| 106584 | Thread adapter ( for a.m. Sink ), G 1 1/2" (f) to GL25 (m), PTFE | 74.3
STAND : 18.02.2022